CITY OF ST. CHARLES

REQUEST FOR PROPOSALS (RFP)

To Provide

# Storm Sewer Maintenance Services

# For The

City of St. Charles, Illinois

Proposals Due: March 19, 2015 at 2:00 p.m.

#### TABLE OF CONTENTS

Invitation to Proposer	2

Request For Proposals	3-11

General Requirements	12-21

Proposal Certification	22-23

Disqualification of Certain Proposer	24

Certification of Non-Disqualification	25

Certification of Compliance	26

Compliance Statement	27

Tax Compliance Affidavit	28

References	29

Certification of Compliance with Safety Standards	30

Certification of Compliance with Human Rights Act	31

Compliance with Confined Space Entry Policy and Procedure Form……………………………..32

Agreement Signature Sheet	33

“Appendix I” – Insurance Requirements	34-35

“Exhibit A” – Stormwater Televising & Cleaning Services Specifications……………………..36-43

“Exhibit B” - Base Proposal/ Fee Schedule	44-47

“Exhibit C” – Stormwater T.V. History Atlas Maps……………………………………………48-End

INVITATION TO PROPOSER

# Storm Sewer Maintenance Services

# City of St. Charles

NOTICE IS HEREBY GIVEN that Request for Proposals (RFP) are invited by the City of St. Charles, Illinois for specifications for STORM SEWER MAINTENANCE SERVICES.

The City of St. Charles is seeking qualified contractors with experience and interest to present their qualifications and capabilities to provide Storm Sewer Maintenance Services, including catch basin cleaning and televising services for the City of St. Charles, Illinois.

Proposal forms and specifications are available for pick-up at the City of St. Charles, Public Works Facility located at 200 Devereaux Way, St. Charles, IL  60174

# Proposals are Due and will be accepted until 2:00 P.M. on March 19, 2015 with the following provisions:

# Submit Two (2) Complete Copies of RFP/ Qualifications

# RFP/ Qualifications are to be contained in Sealed Envelopes marked with the RFP Title (“Stormwater Televising & Cleaning Services”), Proposal Due Date and Time.

# PROPOSALS SUBMITTED BY FACSIMILE OR E-MAIL WILL NOT BE ACCEPTED!

Proposal shall be submitted to:    	City of St. Charles, Public Works Facility

200 Devereaux Way

St. Charles, Illinois 60174

Attn:  AJ Reineking, Public Works Manager

Offers may not be withdrawn for a period of 90 days after proposal due date without the consent of the City of St. Charles.

Any Proposal submitted unsealed or unsigned, received via fax transmissions, electronically or received subsequent to the aforementioned date and time, may be disqualified and returned to the submitter.

The City of St. Charles reserves the right to reject any and all proposals or parts thereof, to waive any irregularities or informalities in proposal procedures and to award the contract in a manner best serving the interest of the City.

Proposals will not be opened in a public forum.

REQUEST FOR PROPOSALS

# Storm Sewer Maintenance Services

##### City of St. Charles

Services Summary

The City of St. Charles is seeking proposals and statements of qualifications from interested companies for STORM SEWER MAINTENANCE SERVICES in accordance with the attached specifications.

The successful company will provide the above services and in addition provide; customer service support for the City of St. Charles’ residents,

A.	GENERAL PROCESSING AND SELECTION PROCEDURES

Unless otherwise directed by the City, the following general procedures are used in the selection of vendors to provide professional services:

1.	The City prepares a project description, criteria for selection, and requirements for the specific contract.  A proposal package is mailed to interested offerors and notice of the intent to contract for services is established.

2.	The City receives written proposals. The proposals should include a resume of the firm, references from past and present clients, and a list of similar experience.

3.	The City reviews and evaluates the proposals based on the established selection criteria and a comparison of all proposals. If necessary, the City may request a meeting with one or more offerors to clarify and/or expand on the proposal in accordance with the requirements of the proposal, the City may negotiate terms, conditions, and fees with one or more offerors.

4.	The City selects the proposal, which, based on the ability to meet the criteria, appears to be the most advantageous selection for the City, and subsequently recommends contract award to the City of St. Charles.

5.	The following table outlines the anticipated timeline for RFP proposal submission and selection.

Activity					Target Dates			Location

RFP Issued	 				March 2, 2015

Mandatory Pre-Proposal Meeting			N/A				N/A

Submission of Proposals 				March 19, 2015		City of St. Charles

Interviews by Invitation				March 23, 2015		City of St. Charles

Government Services Committee			April 27, 2015			City of St. Charles

RFP Awarded 					May 4, 2015			City of St. Charles

B.	REQUEST FOR PROPOSALS

Definition:

Request for Proposals (RFP) is a method of procurement permitting discussions with responsible offerors and revisions to proposals prior to award of a contract. Proposals will be opened and evaluated in private. Award will be based on the criteria set forth herein.

Familiarity with Conditions:

Offerors are advised to become familiar with all conditions, instructions, and specifications governing this proposal. Once the award has been made, failure to have read all the conditions, instructions and specifications of this Request for Proposal, and any subsequent contract, shall not be cause to alter the original contract or request additional compensation.

Discussion of Proposals:

All offerors are advised that in the event of receipt of an adequate number of proposals, which in the opinion of the City require no clarification and/or supplementary information, such proposals may be evaluated without discussion.  Hence, proposals should be initially submitted on the most complete and favorable terms which offerors are capable of offering to the City.

The City may conduct discussions with any offeror who submits an acceptable or potentially acceptable proposal. Offerors shall be accorded fair and equal treatment with respect to any opportunity for discussion and revision of proposals. During the course of such discussions, the City shall not disclose any information derived from one proposal to any other offeror. The City reserves the right to request the offeror to provide additional information during this process.

During discussions, the offeror shall be prepared to cover the following topics:

- The specific services to be provided;

2.	Qualifications of the offeror, including work on similar projects, experience of personnel, etc;

3.	The working relationship to be established between the City and the offeror, including, but not limited to what each party should expect from the other.

# Negotiations:

The City of St. Charles reserves the right to negotiate specifications, terms and conditions which may be necessary or appropriate to the accomplishment of the purpose of this RFP. The City may require the RFP and the offeror's entire proposal be made an integral part of the resulting contract. This implies that all responses, supplemental information, and other submissions provided by the offeror during discussions or negotiations will be held by the City of St. Charles as contractually binding on the successful offeror.

Notice of Unacceptable Proposal:

When the City determines an offeror's proposal to be unacceptable, such offeror shall not be afforded an additional opportunity to supplement its proposal.

# Confidentiality:

The City shall examine the proposals to determine the validity of any written requests for nondisclosure of trade secrets and other proprietary data identified.  After award of the contract, all responses, documents, and materials submitted by the offeror pertaining to this RFP will be considered public information and will be made available for inspection, unless otherwise determined by the City.  All data, documentation and innovations developed as a result of these contractual services shall become the property of the City.  Based upon the public nature of these RFP's, an offeror must inform the City, in writing, of the exact materials in the offer, which cannot be made a part of the public record in accordance with the Illinois Freedom of Information Act (5 ILCS 140/1 et seq; hereinafter, the "Act").

Once a contract is awarded, the Contractor shall maintain full compliance with all provisions of the Act, including, but not limited to, providing any requested records subject to the Act within the deadlines provided by the Act.  Failure by the Contractor to maintain compliance with any provisions shall result in the assessment of any and all penalties, damages, and/or costs incurred by the City to the Contractor that shall be paid immediately by the Contractor upon demand of the same by the City.

C.	TERMS AND CONDITIONS

# Authority:

This Request for Proposals is issued pursuant to applicable provisions of the City of St. Charles.  Responses to this RFP shall be opened in private by City officials to avoid disclosure of contents that may contain confidential or proprietary information to competing Respondents.

Errors in Proposals:

Offerors are cautioned to verify their proposals prior to submission.  Negligence on the part of the offeror in preparing the proposal confers no right for withdrawal or modification of the proposal.

# By executing the contract, the offeror represents that it has completely informed itself of all conditions under which services are to be performed, the service area(s), and all other relevant matters pertaining to the services as specified herein, including, but not limited to, type of housing, population density, roads, traffic patterns, required collection procedure, labor requirements, and any other factors which would affect the execution and/or completion of the services covered by the contract.

# Reserved Rights:

The City reserves the right, at its sole discretion, to use without limitation any and all information, concepts, and data submitted in response to this RFP, or derived by further investigation thereof.  The City further reserves the right at any time and for any reason to cancel this solicitation, to reject any or all proposals, to supplement, add to, delete from, or otherwise change this RFP if conditions dictate.  The City may seek clarifications from a Respondent at any time and failure to respond promptly may be cause for rejection.  The City also reserves the right to interview only those firms it determines shall provide the most advantageous services to the City, and to negotiate with one or more Respondents acceptable to the City.

Incurred Costs:

The City of St. Charles will not be liable in any way for any costs incurred by respondents in replying to this RFP.

# Award:

Award shall be made by the City of St. Charles to the responsible offeror whose proposal is determined to be the most advantageous to the City, taking into consideration price and the evaluation criteria set forth herein below.  The City of St. Charles reserves the right to accept the Proposal as a whole, or any component thereof, if it appears to be in the best interests of the City.

Final Contract:

This Document (City of St. Charles, Request for Proposals To Provide Storm Sewer Maintenance Services, Dated 19 February 2015) will serve as the Final Contract.  Any agreement or contract resulting from the acceptance of a proposal shall be on forms approved by the City’s legal counsel and shall contain, as a minimum, the applicable provisions of this request for proposal and the proposal itself.  The City reserves the right to reject any agreement or contract which does not conform to the request for proposal, the proposal of the firm concerned, or the City’s requirements for agreements and contracts.

Evaluation Considerations:

Selection criteria refers to the qualifications that the City would require in order to award a contract for services, or qualifications that the City intends on using to evaluate.

Respondents in order to select the most qualified respondent for the project.  At a minimum, Respondents must provide all requested information in this request for proposal.

Evaluation Criteria is shown below.  The City of St. Charles shall consider the following when judging the ability of offerors to meet the requirements of this Proposal.

- Compliance with Request for Proposals

This refers to the adherence to all conditions and requirements of the Request for Proposals.

## 2.	Quality of Response

Clearly demonstrated understanding of the work to be performed.  Project staff experience and ability to successfully work with the other project team members.

3.	Completeness

Completeness and reasonableness of the offeror's plan/proposal for accomplishing the tasks.

4.	Capability

Level of capability demonstrated by the offeror's proposed resources for meeting the requirements of this proposal. A demonstrated ability to complete projects on schedule and within budget. Each proposal must identify and list the equipment proposed to complete the tasks outlined in this document.

- Competence

Level of competence of the offeror’s for managing sensitive construction projects including existing facility remodeling.

- Cost

The City seeks to maximize the amount of work that can be performed for the funds that have been budgeted.  Cost, along with qualifications, will be a significant factor for the basis of award.

Services to be Provided

This refers to the exact type and nature of the offeror's proposed services and how they accomplish the objectives of the project, as well as the ability to rapidly respond to the City’s needs, as defined in the Evaluation Criteria set forth.

Qualifications of the Company

This refers to the offeror's capability in all respects to perform fully the contract requirements, and the tenacity, perseverance, experience, integrity, and reliability, which will assure good faith performance, as well as satisfactory reference verification.  This criteria includes:

- The experience of the firm and its record on engagements of a similar nature, including the ability to serve in a similar capacity for other units of government or organizations.

- Personnel to be assigned to the project, and their education, capabilities, qualifications and experience with similar projects; and proposed contract fees.  (Please note that price is only one factor for consideration of award).

Acceptability of Proposals:

The Offer shall be evaluated solely in accordance with the criteria set forth herein. The proposals shall be categorized as follows:

- Acceptable;

B.	Potentially Acceptable; that is reasonably susceptible of being made

acceptable; or

- Unacceptable.

# Budget:

If proposing costs which may include alternate programs or services not covered in the base bid pricing, the offeror, when offering such alternative services must provide a detailed explanation of additional optional services to be offered.

Contract Period:

As required in the specifications shown herein, including a One (1) Year Contract, with the option to extend for two additional one-year periods.  The option to extend the contract will be exercised at the sole discretion of the City.

# Taxes:

The City is exempt from paying Illinois Use Tax, Illinois Retailers Occupation Tax, Federal Excise Tax, and Municipal Retailer's Occupation Tax.

Hold Harmless Clause:

To the fullest extent permitted by law, the Contractor shall be required to defend, indemnify and hold harmless the City, its officials, agents, architects, contractors, consultants, and employees against all injuries, deaths, loss, damages, claims, patent claims, suits, liabilities, judgments, costs and expenses, which may in anywise accrue against the City, its officials, agents and employees, arising in whole or in part or in consequence of the performance of the work by the Contractor, its employees, or subcontractors, or which may in anywise result therefore, except that arising out of

sole legal cause of the City, its agents or employees.  The Contractor shall also be required, at its own expense arising therefore or incurred in connection therewith, and, if any judgment shall be rendered against the City, its officials, agents and employees, in any such action, the Contractor shall be required, at its own expense, to satisfy and discharge the same.

Contractor shall acknowledge that it expressly understands and agrees that any performance bond or insurance policies required by contract, or otherwise provided by the Contractor, shall in no way limit the Contractor’s responsibility to indemnify, keep and save harmless and defend the City, its officials, agents and employees as provided by contract.

Contractor shall also agree to be solely liable for any fines or civil penalties that are imposed by any governmental or quasi-governmental agency or body that may arise, or be alleged to have arisen, out of or in connection with Contractor’s, or its subcontractors’ or supplier’, performance of, or failure to perform, the work or any part thereof.  Contractor shall be permitted to contest any such fines or penalties in administrative or court proceedings; provided, however, that Contractor shall pay such fines or civil penalties prior to such protest if payment is required prior to making such protest.  Contractor shall be held solely responsible for all costs, including attorneys’ fees and administrative expenses, of protesting any such fines or civil penalties.

# Insurance Requirements:

Contractor shall maintain for the duration of this contract and any extensions thereof insurance as noted in Appendix I – Insurance Requirements.

Equal Employment Opportunity:

Contractor shall comply with the Illinois Human Rights Act, 775 ILCS 5/1-101 et seq., as amended, and any rules and regulations promulgated in accordance therewith, including, but not limited to the Equal Employment Opportunity Clause, Illinois Administrative Code, Title 44, Part 750 (Appendix A), which is incorporated herein by reference.  Furthermore, the Contractor shall comply with the Public Works Employment Discrimination Act, 775 ILCS 10/0.01 et seq., as amended.

Responsibility & Default:

The awarded offeror shall be required to assume responsibility for all items listed in this Request for Proposals.  The successful offeror shall be considered the sole point of contact for purposes of this contract.

Time is of the essence and shall be considered in awarding this contract.  If delivery of acceptable items or rendering of services is not completed by the time promised, the City reserves the right, without liability, in addition to its other rights and remedies, to terminate the contract by written notice effective when received by the Contractor, as to stated items not yet shipped or services not yet rendered and to purchase substitute items or services elsewhere in such as manner as the City of St. Charles may deem appropriate, and charge the Contractor with any or all losses incurred.  The City shall be entitled to recover its attorney's fees and expenses in any successful action by the City to enforce this contract.

Storm Sewer Maintenance Company Responsibilities:

The selected company will be required to assume responsibility for all services offered in this proposal.  The City will consider the selected company to be the sole point of contact with regard to contractual matters, including payment of any and all charges resulting from the contract.  Sub-contracts will be permitted only upon specific, written permission of the City of St. Charles.

# Interpretation or Correction of Request for Proposals:

Offerors shall promptly notify the City of any ambiguity, inconsistency or error, which they may discover upon examination of the Request for Proposals.  Requests for interpretation of specifications may be made in writing, and directed to the City.  All such requests must be delivered in a timely fashion.

Interpretations, corrections and changes to the Request for Proposals will be made by addendum.  Interpretations, corrections or changes made in any other manner will not be binding.

Law Governing:

Any contract resulting from this RFP shall be governed by and construed according to the laws of the State of Illinois.

# Compliance with Laws:

The Contractor shall at all times observe and comply with all laws, ordinances and regulations of the federal, state, local and City governments, which may in any manner affect the contract.

Termination for Lack of Funding:

The City reserves the right to terminate the whole or any part of this contract, upon written notice to the Contractor, in the event that sufficient funds to complete the contract are not appropriated by the City of St. Charles; provided that in the event of such termination, the Contractor shall be paid promptly for all services rendered by the Contractor through the effective date of termination.

# Addenda:

Addenda are written instruments issued by the City prior to the date of receipt of proposals, which modify or interpret the RFP by addition, deletions, clarifications or corrections.

Prior to the receipt of proposals, addenda shall be distributed to all who are known to have received a complete RFP.

After receipt of proposals, addenda shall be distributed only to applicants who submitted proposals, and those offerors shall be permitted to submit new or amended proposals as detailed within the addenda.

Each offeror shall ascertain, prior to submitting a proposal that all addenda issued have been received and, by submission of a proposal, such act shall be taken to mean that such offeror has received all addenda and that the offeror is familiar with the terms thereof and understands fully the contents of the addenda.

Offerors shall acknowledge receipt and understanding of the addenda.

Regulatory Compliance:

Offeror represents and warrants that the goods and services furnished hereunder (including all labels, packages and container for said goods) comply with all applicable standards, rules, and regulations as applicable including the Occupational Safety and Health Act as amended with respect to design, construction, manufacture or use for their intended purpose of said goods or services.

D.	PROPOSAL FORMS AND CONTENT

# Submission of Proposals:

To be considered, proposals should arrive at the Public Works Reception Desk, 200 Devereaux Way, on or before the date and time specified in the Request for Proposals.

Each respondent shall submit the number of proposals as enumerated on the cover page herein, one of which shall be the original.

Proposals may be submitted in a sealed envelope, addressed as follows:

# City of St. Charles, Public Works Department

200 Devereaux Way

St Charles, IL 60174

Attn: AJ Reineking, Public Works Manager

Late proposals will be rejected and returned to the sender.

# Form of Proposal:

The proposal form included within this RFP shall be completed in full and signed by an officer, partner or principal with authority to execute contracts.

# Items to be submitted:

- Forms of Proposal:  All forms within this document must be completed with exception of the Agreement Signature Sheet.

- References and Qualifications:

  - Complete the enclosed "References" form.  Provide references of organizations to which similar services have been provided.  A minimum of three references is required; however, an offeror may list more than three.

GENERAL REQUIREMENTS

# Storm Sewer Maintenance Services

##### City of St. Charles

- INTENT

The City of St. Charles desires to enter into agreement with a single contractor to provide Storm Sewer Maintenance Services. The contract includes cleaning and inspection of City Storm Sewer and corresponding Catch Basins.  The City has been divided into 13 unique zones, two of which, each averaging approximately 67,000 linear feet, have been identified for maintenance over the next two years.  The zones of the City are further described on the attached Storm water Catch basin and structure map as provided on the City’s website. (“Exhibit C”).

- SCOPE OF WORK

The Contractor shall be responsible for all services required herein to be performed, and shall provide and furnish all labor, materials, necessary tools, equipment and supplies, vehicles and transportation services required to perform and complete the Storm Sewer Maintenance Services from defined areas within the corporate limits of the City of St. Charles for the duration of the contract.  Such services shall be performed within the corporate limits of St. Charles and any territory hereinafter annexed thereto, all in strict accordance with the contract.

Work will generally consist of Catch Basin and Storm Sewer flushing and cleaning in the zones of the City adjacent to the Fox River (5 & 4), as well as televising and inspection services following all cleaning.  These areas are further defined on the attached Maps (“Exhibit C”).  The actual amount of work (number of zones) to be completed will be based on the prices submitted and the available budget for the project.

The Contractor shall submit pricing on all services/tasks for each Line Item.

Contractor is responsible for any and all damage to any properties, which are a result of Contractor's actions.  Contractor shall repair or replace any and all property damaged due to Contractor's work.

All work shall be performed by experienced personnel directly employed by the Contractor.

The Contractor shall provide management and technical supervision through competent supervisors as required to implement the required contract.

Contractor shall be responsible for the skills, methods, and actions of Contractor’s employees and for all work.

Contractor shall employ a sufficient number of staff, and appropriate equipment, to ensure performance of the work described.

Pre-qualification of Contractors in accordance with Section 102 of the Standard Specifications for Road and Bridge Construction in Illinois is required of all Contractors on this Project. The Contractor must be a member of the National Association of Sewer Service Companies (NASSCO, INC.) and have completed the Pipeline Assessment and Certification Program (PACP).  The Contractor must provide a copy of their NASSCO membership and a letter that states the Contractor has successfully completed the Pipeline Assessment and Certification Program (PACP)

- CONTRACT PERIOD

The term of this contract will be for one year commencing May 1, 2015 and concluding April 30, 2016, with the option to extend the work for one additional year ending April 30, 2017.

- SCOPE OF SERVICES

The work embraced herein shall be done in accordance with the City of St. Charles, Department of Public Works Standards.  Work shall also be done in accordance with the "City of St. Charles Stormwater Televising & Cleaning Services Specifications" attached as “Exhibit A”.

- COMPLIANCE WITH APPLICABLE LAWS, ORDINANCES AND REGULATIONS

The Contractor shall comply with all applicable Federal, State and Local laws, ordinances, rules and regulation during the term of this contract.  Contractor shall be held responsible for the preservation and protection of all public and private property. Should any direct or indirect damage or injury result to any public or private property or to any persons encountered in the course of work on account of any act, omission, neglect, or misconduct in the execution of the work, or as a consequence of non-execution thereof on the part of the Contractor or any of their employees or agent, such property or person shall be restored and made whole at the expense of the contractor.

- STANDARDS OF PERFORMANCE/ WORKMANSHIP

All other portions of these special provisions notwithstanding, it is intent of these special provisions that, at a minimum, the Contractor adheres to the Storm Sewer Maintenance Services Specifications, attached as “Exhibit A”.  The City Representative, Public Works Manager, and/or the Assistant Public Works Director shall be the sole judge as to the adequacy of the work.

- SUBMITTALS AND INSPECTIONS

- The City will conduct regular inspections of Contractor's work. Every two weeks, the City shall meet with Contractor to evaluate Contractor's services.

- Contractor shall provide the City the following reports:

    - Report of any problems encountered and recommendations for resolution of problems outside the contracts scope of services.  Any items reported to be critical shall be accompanied by televising footage to verify the defect.

- MEETINGS

Upon award of the contract and before initial start of work, the Contractor shall contact the Public Works Division Manager at (630) 377-4405 to schedule a pre-job meeting.  Contractor shall meet with the City every two weeks afterwards to review the status of Storm Sewer Maintenance activities.

- VEHICLES AND EQUIPMENT

The Contractor shall furnish a complete list of vehicles and equipment to be used in servicing the contract as required by the City.  The City reserves the right to request descriptive literature or specification sheets for each type of vehicle or equipment listed as it deems necessary to properly administer specifications of the contract.  Upon request of the City, the Contractor shall demonstrate the equipment is suitable for the proposed services.  The Contractor shall notify the City if there is any change in the number or type(s) of vehicles or equipment being used.

All vehicles and equipment shall be maintained in good working order and appearance, free of rust, and shall be clean at the start of each working day.  No vehicle or equipment shall be operated on St. Charles a street that leaks any fluids from the engine, working mechanism, or on board water/debris storage tank.  In the event that any vehicle or equipment is not properly operable, a substitute vehicle shall immediately be provided that complies with the terms herein.  All vehicles shall display the name of the Contractor, a local phone number, and a vehicle identification number that is clearly visible on both sides.

- TAXES, LICENSES, PERMITS AND CERTIFICATES

The Contractor shall pay all sales, use, property, income and other taxes that are lawfully assessed against St. Charles or the Contractor in connection with the

Contractor’s facilities and the work included in the contract.  By law, St. Charles is exempt from paying Federal Excise Tax, State and Local Retailer’s Occupation Tax, State and Local Service Occupation Tax and Service Use Tax.

The Contractor shall secure, at its own expense, all necessary permits, licenses and certificates of authority required to complete the work, and shall comply with all requirements of such permits, licenses and certificates of authority to operate.  The Contractor shall keep and maintain all such licenses, permits and certificates of authority in full force and effect throughout the term of this contract.

- EQUAL EMPLOYMENT OPPORTUNITY

Contractor shall comply with the Illinois Human Rights Act, 775 ILCS 5/1-101 et seq., as amended, and any rules and regulations promulgated in accordance therewith, including, but not limited to the Equal Employment Opportunity Clause, Illinois Administrative Code, Title 44, Part 750 (Appendix A), which is incorporated herein by reference.  Contractor shall ensure that any permitted subcontractor shall include said Equal Employment Opportunity Clause in each of its subcontracts.

Furthermore, the Contractor shall comply with the Public Works Employment Discrimination Act, 775 ILCS 10/0.01 et seq., as amended.

- NON-ASSIGNMENT

The Contractor shall not assign or subcontract this contract or the work hereunder, or any part thereof, to any other person, firm or corporation without prior written consent of the City.

- INSURANCE

Contractor shall maintain for the duration of this contract and any extensions thereof insurance as noted in Appendix I – Insurance Requirements.

- SAFETY, ACCIDENT PREVENTION AND NOTIFICATION

The Contractor shall be responsible for initiation, maintaining, and supervising all safety precautions and programs in connection with the work of this contract.  Precaution shall be exercised at all times for the protection of persons and property.  The safety provisions of all applicable laws, regulations and building codes shall be observed, including safeguards on machinery and equipment, the elimination of hazards, and worker safety training.

In the event of accidents of any kind that involve the general public and/or private or public property in St. Charles, the Contractor shall immediately notify St. Charles.  Upon request of St. Charles, the Contractor shall provide such accounting of details and/or copy of written accident reports as St. Charles may require.

Safety & Warning Signs/ Cones for work zones to be Contractors responsibility and shall meet all City Standards.  There shall be no lane closures on Rt. 25 without flaggers present at all times.  Notify the City of any and all Lane closures at least 24 hours in advance of closure.

Work Hours shall be per City of St. Charles Ordinance.

- ADDITIONAL WORK REQUIREMENTS

A. JOB SITE DAILY CLEANUP

Contractor shall maintain a clean work site and at the end of each day shall make sure that all debris and scrap materials no longer needed for the construction are properly removed and disposed of.  The City will provide a location for contractors to deliver and dump grit as collected from City Storm sewers.  The dump area will be at the City’s IYC Plant located at 3805 Lincoln Highway, St. Charles.

B. EQUIPMENT STORAGE / PARKING

Contractor shall be responsible for the proper, safe and adequate storage of all materials and equipment. The Contractor shall not place any equipment or materials on the job site without prior approval by the City. All staging locations for equipment and materials must be pre-approved by the City. Contractor and subcontractors are responsible for the security of their own materials, tools and equipment at the site and the City shall not be liable for any loss or damage that may occur thereto.

C. WATER

Contractor may use City fire hydrants under the following conditions:

1. Contractor may pick-up and use a City issued water meter and RPZ device.  Please contact the City Water Department for specific information.

2.  All water usage must be recorded and reported to the City.

3.  Water can be filled at the public works yard Hydrant

4.  Contractor must use a hydrant meter when using water from City hydrants.  The meter can be checked out from the City for a $750 deposit, which will be returned to the contractor upon return of the meter.

- DAMAGE

The Contractor shall take all necessary precautions for the protection of public or private property.  The Contractor shall be responsible for damages on or to public or private property resulting from careless or negligent operation of vehicles or handling of any receptacle.  All property which suffers damage (reasonable wear-and-tear excepted) caused by the Contractor shall be repaired or replaced as soon as possible to equivalent quality at the time of the damage, and at no extra charge to the property owner.  If the Contractor fails to do so within a reasonable period of time, the City may, after the expiration of a period of forty-eight (48) hours after giving the Contractor notice in writing, proceed to repair or replace such property as may be deemed necessary at the Contractor’s expense.  Contractor agrees to pay for said expenses within ten (10) days of receipt of said invoice.

- EMPLOYEES AND CONDUCT

The Contractor shall undertake to perform all Storm Sewer Maintenance Services rendered hereunder in a neat, orderly and efficient manner; to use care and diligence in the performance of this contract; and to provide courteous and knowledgeable personnel in its customer service office.

The Contractor shall prohibit any consumption of alcoholic beverages or use of any controlled substances, except by a doctor’s prescription, by its drivers and crewmembers while on duty, or in the course of performing their duties under this contract.

In the event that any of the Contractor’s employees is deemed by the City to be unfit or unsuitable to perform the services under this contract as a result of intoxication, drug use or by virtue of abusive or obnoxious behavior, the, upon formal written request of the City, the Contractor shall remove such employee from work within St. Charles and furnish a suitable and competent replacement employee.

The Contractor’s drivers and crewmembers shall be attired at all times in a neat and professional manner.  St. Charles has the right to require or define what shall be considered suitable work clothes for the Contractors employees.

All vehicle operators shall carry valid Illinois state driver’s licenses for the class vehicle operated.  Vehicle operators shall obey all traffic regulations, including weight and speed limits.

- NON-PERFORMANCE OF SERVICE

If the Contractor fails to observe the established schedule of service for more than two (2) consecutive working days, the City reserves the right to determine if there has been sufficient cause to justify non-observance of the service schedule.  If, in the City’s judgment, sufficient cause has not been demonstrated, then the City shall service notice either personally or by affixing such notice to the premises of the servicing location of the Contractor stating that this contract shall be deemed in default if the Contractor does not take action to re-establish the schedule within twenty-four (24) hours of said notice.  If at the end of the twenty-four (24) hour period the Contractor has not taken corrective action, the City shall take such steps as are necessary to furnish services according to the collection requirements provided for in this contract.  The Contractor shall be liable for any costs incurred by the City to correct such default.  Not withstanding or foregoing, the City shall further reserve the right to terminate this contract.

- SERVICE LOCATIONS AND POINTS OF CONTACT

The Contractor shall establish and maintain an office through which it may be contacted directly, where City personnel may telephone or send inquires and complaints, and where the City personnel may send and receive instruction.  The office shall be equipped with sufficient telephones, and shall have a responsible person in charge during normal business hours.

The contractor shall also notify the City of its designated contact person(s) for the purposes of obtaining instruction, answering inquires and resolving complaints.  Such person(s) shall be available to discuss, and if necessary, meet with City personnel to resolve problems.

- NOTIFICATIONS

Official notifications, whenever required for any purpose under contract, shall be made in writing and addressed to the City as follows:

City of St. Charles, Public Works Department

200 Devereaux Way

St. Charles, Illinois 60174

Attn:  AJ Reineking, Public Works Manager

Any party may change the address to which notices for such party may be sent by furnishing written notice to the other party.

All Notifications shall be delivered in person or sent by first-class mail, with sufficient postage fully pre-paid, or certified or registered/return receipt requested mail with sufficient postage or certification or registry fees fully pre-paid.  Notice delivered personally shall be deemed received upon delivery.  Notice delivered by mail shall be deemed to have been given as of the date of the U.S.P.S. postmark.

- RIGHT TO REQUIRE PERFORMANCE

The failure of the City at any time to require performance by the Contractor of any specifications in this contract shall in no way affect the right of the City hereafter to enforce same.  Nor shall waiver by the City of any breach of specifications in this contract be taken or held to be waiver of any succeeding breach of such specifications in this contract, nor be taken or held to be waiver of any specification itself.

- CHANGE IN SERVICE; AMENDMENTS

If the City should wish to change the type of service provided during the term of this contract, including, but not limited to, snow routes, service specifications or modifications and/or response times, the City shall have the option to initiate the change in service by serving written notice to the Contractor at its designated place of business at least ten (10) days prior to the date such service change is contemplated to begin.  Both parties agree to negotiate the terms, frequency, and prices of such change in service after such written notice is served.  Such modifications shall be contained in written agreement executed by the parties.

- SEVERABILITY

The invalidity of one or more of the phrases, sentences, clauses, or subsections contained in this contract shall not affect the validity of the remaining portion of this contract so long as the material purposes of this contract can be determined and effectuated.

- LAW TO GOVERN AND VENUE

This contract shall be governed by the laws of the State of Illinois, both as to interpretation and performance, and the venue shall be St. Charles, Illinois.  Any references to laws in this contract shall include such laws as they may be amended or modified from time to time.  Every provision of law required by law to be inserted into this contract shall be deemed to be inserted herein.

- SUCCESSORS AND ASSIGNS

This contract shall be binding upon the parties, their successors, and assigns.

- TERMINATION FOR CAUSE

The City may terminate this Contract, in whole or in part, immediately upon notice to the Contractor if it is determined that the actions, or failure to act, of the Contractor, its agents, employees or subcontractors have caused, or reasonably could cause jeopardy to health, safety, or property.  If Contractor fails to perform to the City’s satisfaction any material requirement of this Contract or is in violation of a material provision of this Contract, the City shall provide written notice to the Contractor requesting that the breach or noncompliance be remedied within the period of time specified in the City’s written notice.  If the breach or noncompliance is not remedied by that date the City may either: (a) immediately terminate the Contract without additional written notice or, (b) enforce the terms and conditions of the Contract, and in either event seek any available legal or equitable remedies and damages.

- TERMINATION FOR CONVENIENCE

Following thirty (30) days written notice, the City may terminate this Contract in whole or in part without the payment of any penalty or incurring any further obligation to the Contractor.  Following any such termination for convenience, the Contractor shall be entitled to compensation upon submission of invoices and proof of claim for services provided under this Contract up to and including the date of termination.

- PREVAILING WAGES

This contract calls for the construction of a “public work,” within the meaning of the Illinois Prevailing Wage Act, 820 ILCS 130/.01 et seq. (“the Act”). The Act requires contractors and subcontractors to pay laborers, workers and mechanics performing services on public works projects no less than the “prevailing rate of wages” (hourly cash wages plus fringe benefits) in the county where the work is performed. For information regarding current prevailing wage rates, please refer to the Illinois Department of Labor’s website at: http://www.state.il.us/agency/idol/rates/rates.HTM. All contractors and subcontractors rendering services under this contract must comply with all requirements of the Act, including but not limited to, all wage, notice and record keeping duties.

The successful proposer and each subcontractor shall submit monthly, in person, by mail, or electronically, a certified payroll to the City of St. Charles. The certified payroll shall consist of records of all laborers, mechanics, and other workers employed by them on the project. The records shall include each worker’s name, address, telephone number (when available), social security number, classification or classifications, the hourly wages paid in each period, the number of hours worked each day, and the starting and ending times of work each day. The certified payroll shall be accompanied by a statement signed by the proposer or subcontractor which avers that:

- Such records are true and accurate;

- The hourly rate paid to each worker is not less than the general prevailing rate of hourly wages required; and

- The proposer or subcontractor is aware that filing a certified payroll that he or she knows to be false is a Class B misdemeanor.

The City of St. Charles is required to keep the certification records submitted for a period of not less than three years. Furthermore, these records, except an employee’s address, telephone number, and social security number, shall be made available in accordance with the Freedom of Information Act.

PROPOSAL CERTIFICATION

TO:		City of St Charles

200 Devereaux Way

St Charles, IL  60174

ATTN:  AJ Reineking, Public Works Manager

FROM:		Organization:	__________________________________________

Address:	__________________________________________

City, State, Zip Code: ______________________________________

Contact Person:  __________________________________________

Telephone Number:________________________________________

Facsimile Number:_________________________________________

AUTHORIZED NEGOTIATORS:

Name:_____________________________ Phone #:________________________

Name:_____________________________ Phone #:________________________

RECEIPT OF ADDENDA: The receipt of the following addenda is hereby acknowledged:

Addendum No. _________________, Dated____________________

Addendum No. _________________, Dated____________________

In submitting this proposal, it is understood that the City of St Charles reserves the right to reject any or all Proposals, to accept an alternate Proposal, and to waive any informalities in any Proposal.

In addition to this document, Offerors shall furnish, with the proposal, all submittals as required herein.

BUSINESS ORGANIZATION:

_______	Sole Proprietor:  An individual whose signature is affixed.

_______	Partnership: State full names, titles and addresses of all responsible principals and/or partners on attached sheet.

_______	Corporation:  State of Incorporation:__________________________

Please provide your Federal Employer Identification Number (F.E.I.N.):

________________________

Seal (affix seal below if applicable)

(List Name of Officers)

President	____________________

Vice-President	____________________

Secretary	____________________

Treasurer	____________________

Attest:

#### ________________________Signature of Secretary

DISQUALIFICATION OF CERTAIN PROPOSER

PERSONS AND ENTITIES SUBJECT TO DISQUALIFICATION

No person or business entity shall be awarded a contract or subcontract, for a stated period of time, from the date of conviction or entry of a plea or admission of guilt, if the person or business entity,

(A)	has been convicted of an act committed, within the State of Illinois or any state within the United States, of bribery or attempting to bribe an officer or employee in the State of Illinois, or any state in the United States in that officer's or employee's official capacity;

(B)	has been convicted of an act committed, within the State of Illinois or any state within the United States, of proposal rigging or attempting to rig proposals as defined in the Sherman Anti-Trust Act and Clayton Act 15 U.S.C.;

(C)	has been convicted of proposal rigging or attempting to rig proposals under the laws of the State of Illinois, or any state in the United States;

(D)	has been convicted of an act committed, within the State of Illinois or any state in the United States, of price-fixing or attempting to fix prices as defined by the Sherman Anti-Trust Act and Clayton Act 15 U.S.C. Sec. 1 et sig.;

(E)	has been convicted of price-fixing or attempting to fix prices under the laws of the State of Illinois, or any state in the United States;

(F)	has been convicted of defrauding or attempting to defraud any unit of state or local government or school district within the State of Illinois or in any state in the United States;

(G)	has made an admission of guilt of such conduct as set forth in subsection (A) through (F) above which admission is a matter of record, whether or not such person or business entity was subject to prosecution for the offense or offenses admitted to;

(H)	has entered a plea of nolo contendere to charges of bribery, price fixing, proposal rigging, proposal rotating, or fraud; as set forth in subparagraphs (A) through (F) above.

Business entity, as used herein, means a corporation, partnership, trust, association, unincorporated business or individually owned business.

CERTIFICATE OF NON-DISQUALIFICATION UNDER ILLINOIS COMPILED STATUTES, CH. 720, SEC. 33E·11

The undersigned, upon being first duly sworn, hereby certifies to the City of St. Charles, Kane and DuPage Counties, Illinois, that __________			 (proposer) not barred from contracting with any unit of State or local government, as a result of a violation of Ch. 720, Sec. 33E-11 of the Illinois Compiled Statutes.

Name of Proposer

By:

State of

ss

County of

Subscribed and sworn to before me

this 			 day

of

Notary Public

NOTE TO PROPOSER:  	Anyone who makes a false statement, material to this Certification, commits a Class 3 Felony under Illinois Compiled Statutes, Ch. 720, Sec. 33 E-11 (b).

#### CERTIFICATION OF COMPLIANCE

THE UNDERSIGNED HEREBY CERTIFIES AS FOLLOWS:

1.	That the undersigned has authority to make this certification on behalf of the proposal.

____________________________________________________________________________

Name of Company

2.	That the undersigned has read the contents, in regard to disqualification of certain proposer, which are contained on the following pages of the documents.

3.	That the undersigned knows of his own knowledge that the proposer is not disqualified from proposing under the aforesaid sections.

______________________________

Authorized Signature

______________________________

Type or Print Name

______________________________

Title

SEAL

Instructions:  This is to be completely filled out and executed by the chief officer or the proposer authorized to submit the certification.

COMPLIANCE STATEMENT

Complete this form and submit it with Form of Proposal.

Offeror's Name:________________________Signature:_____________________

TO:		City of St Charles, Public Works Facility

200 Devereaux Way

St Charles, IL  60174

ATTN:  AJ Reineking, Public Works Manager

FROM:	Organization:	__________________________________________

Address:	__________________________________________

City, State, Zip Code: ______________________________________

Contact Person:  __________________________________________

Telephone Number:________________________________________

Facsimile Number:_________________________________________

In compliance with this Request for Proposal, and subject to all conditions thereof, the undersigned offers and agrees, if this proposal is accepted, to furnish the services as outlined herein, for the City of St Charles in the amount indicated, subject to modification through negotiations which may be conducted pursuant to conditions set forth in the Request for Proposals.

CITY OF ST CHARLES, ILLINOIS

TAX COMPLIANCE AFFIDAVIT

________________________________________, being first duly sworn,

deposes and says:  that he is __________________________________

(Partner, Officer, Owner, Etc.)

of __________________________________.

(Consultant)

The individual or entity making the foregoing proposal certifies that he is not barred from contracting with the City of St Charles because of any delinquency in the payment of any tax administered by the Department of Revenue unless the individual or entity is contesting, in accordance with the procedures established by the appropriate revenue act, or entity making the proposal understands that making a false statement regarding delinquency in taxes is a Class A Misdemeanor and, in addition, voids the contract and allows the municipality to recover all amounts paid to the individual or entity under the contract in civil action.

_______________________________________________

(Name of Proposer if the Proposer is an Individual)

(Name of Partner if the Proposer is a Partnership)

(Name of Officer if the Proposer is a Corporation)

The above statements must be subscribed a sworn to before a notary public.

Subscribed and Sworn to this _____ day of __________________, 20___

______________________________

SEAL

Failure to complete and return this form may be considered sufficient reason for rejection of the Proposal

REFERENCES

CITY OF ST CHARLES

General Information, list below current business references for whom you have performed work similar to that required by this proposal.

Facility:_______________________________________________________

Address:________________________________________________________

City, State, Zip Code:__________________________________________

Telephone Number:_______________________________________________

Contact Person:_________________________________________________

Dates of Service:_______________________________________________

Facility:_______________________________________________________

Address:________________________________________________________

City, State, Zip Code:__________________________________________

Telephone Number:_______________________________________________

Contact Person:_________________________________________________

Dates of Service:_______________________________________________

Facility:_______________________________________________________

Address:________________________________________________________

City, State, Zip Code:__________________________________________

Telephone Number:_______________________________________________

Contact Person:_________________________________________________

Dates of Service:_______________________________________________

#### CERTIFICATE OF COMPLIANCE WITH SAFETY STANDARDS

The undersigned, upon being first duly sworn, hereby certifies to the City of St. Charles, Kane

and DuPage Counties, Illinois, that __________			 		                           (proposer)

shall comply with all local, state and federal safety standards.

Name of Proposer

By:

State of

ss

County of

Subscribed and sworn to before me

this 			 day

of

Notary Public

#### CERTIFICATE OF COMPLIANCE WITH PUBLIC ACT 87-1257

OF THE ILLINOIS HUMAN RIGHTS ACT

The undersigned, upon being first duly sworn, hereby certifies to the City of St. Charles, Kane

and DuPage Counties, Illinois, that __________			 		                           (proposer)

complies with the Illinois Human Rights Act as amended by Section 2-105, Public Act 87-1257

in relation to employment and human rights.

Name of Proposer

By:

State of

ss

County of

Subscribed and sworn to before me

this 			 day

of

Notary Public

COMPLIANCE WITH CONFINED SPACE ENTRY POLICY AND PROCEDURE FORM

___________________________________ (Contractor) hereby certifies that it will comply with all requirements of 29 CFR Part 1910 Permit Required Confined Spaces for General Industry. Special attention is drawn to Section 1910.146(c) (9) which provides as follows:

“In addition to complying with the permit space requirements that apply to all employers, each Contractor who is retained to perform permit space entry operations shall:

1.	Obtain any available information regarding permit space hazards and entry operations from the host employer;

2.	Coordinate entry operations with the host employer, when both host employer personnel and Contractor personnel will be working in or near permit spaces, as required by paragraph (d)(11) of this section; and

3.	Inform the host employer of the permit space program that the Contractor will follow and of any hazards confronted or created in permit spaces, either through a debriefing or during the entry operation.”

Signed:_______________________________________________

Title/Position:___________________________________________

Subscribed and sworn to before me

this 			 day

of

Notary Public

#### AGREEMENT SIGNATURE SHEET

IN WITNESS WHEREOF, the parties hereto have executed this Agreement as of the day first mentioned above.

CITY OF ST CHARLES

By:

_________________________________

Ray Rogina, Mayor

Attest:

_________________________________

City Clerk

CONTRACTOR: ____________________________________________

By:

______________________________________

Print Name and Title:  ____________________

(If Corporate: Chairman, President or Vice

President)

Attest

_________________________________

Print Name and Title

(If Corporate: Secretary, Assistant Secretary,

Chief Financial Officer or Assistant Treasurer)

Appendix I - Insurance Requirements

City of St. Charles

Certificate of Insurance Requirements

Contractor shall carry all insurance coverage required by law. In addition, the Contractor shall carry, at its own expense, at least the following insurance coverage with a duly licensed and registered insurance company in the State of Illinois having a minimum A.M. Best rating of A-VI:

(a)	Workers’ Compensation & Occupational Diseases Insurance – Statutory amount for Illinois

- General Liability Insurance:

  - Bodily injury, with limits of not less than $1,000,000 each occurrence/

$2,000,000 aggregate;

  - Property damage, with limits of not less than $1,000,000 each occurrence/

$2,000,000 aggregate;

  - Contractual insurance – broad form, with limits of not less than $1,000,000

each occurrence/$2,000,000 aggregate.

- Automotive Liability Insurance:

- Bodily injury, with limits of not less than $1,000,000 each occurrence/

$2,000,000 aggregate;

- Proper damage, with limits of not less than $1,000,000 each occurrence/

$2,000,000 aggregate. Property damage insurance coverage shall include non-owned, hired, leased, or rented vehicles, as well as owned vehicles.

- Umbrella or excess liability coverage of $5,000,000.

- Contractor’s insurance policy shall name City as an additional insured on the General Liability, Automotive Liability and Excess Liability insurance policies. The insurance coverage shall be written with insurance companies acceptable to City. All insurance premiums shall be paid without cost to City. The Contractor shall furnish to City a Certificate of Insurance attesting to the respective insurance coverage for the full contract term. Contractor shall submit satisfactory proof of insurance simultaneously with the execution of the contract.

- All insurance policies shall provide that the City shall receive written notice of cancellation of reduction in coverage of any insurance policy thirty (30) days prior to the effective date of cancellation.

“EXHIBIT A”

City of St. Charles

Storm Sewer Maintenance Services Specifications

DESCRIPTION

The Department of Public Works (DPW) is responsible for maintaining the Stormwater System throughout the City.  The City of St. Charles desires to enter into agreement with a single contractor to provide Storm Sewer Maintenance Services to help support our Stormwater Program. The contract includes Catch Basin Cleaning, Storm Sewer Cleaning within established zones in the City of St. Charles as well as televising services of all areas cleaned.  The two service zones identified in this program each contain an average of almost 67,000 linear feet of storm sewer and are further described on the attached Stormwater Catch Basin  Atlas Overview Maps (“Exhibit C”).  The City reserves the right to add or decrease the amount of sewer and structures to be cleaned, based on the proposer’s unit prices.

DURATION OF WORK

The base contract shall be for one year, the 2015 fiscal year (May 1, 2015 – April 30, 2016), with one additional one-year extension to the contract for the 2016 fiscal year.  The extensions to the base contract shall be exercised at the sole discretion of the City.

All regular maintenance as part of the base scope of this contract shall be performed in continuous days and shall be completed absolutely no later than October 31, 2015.

LOCATION OF WORK

The base contract for 2015 will be in Zone 5, located in the western half of the City with Zone 4 being included as pricing and budgetary funds allow.  It is anticipated that the work in these zones that is not completed prior to April 30, 2016 will  be completed in the following fiscal year. The following pipe sizes and lengths are included in each of these zones:

| Zone 5 |
| --- |
| Size | Basins | Est. Length (LF) |
| 4” | 0 | N/A |
| 6” | 19 | 2,721.25 |
| 8” | 24 | 769.26 |
| 10” | 153 | 7,002.17 |
| 12” | 359 | 31,828.88 |
| 15” | 68 | 9,053.23 |
| 18” | 24 | 2,952.64 |
| 19”x30” | 0 | N/A |
| 21” | 3 | 438.43 |
| 24” | 14 | 2,348.12 |
| 24”x38” | 0 | N/A |
| 27” | 8 | 1,107.38 |
| 30” | 9 | 1,617.78 |
| 36” | 0 | N/A |
| 42” | 5 | 992.72 |
| 46” | 0 | N/A |
| 48” | 0 | N/A |
| 60” | 7 | 1,083.19 |
| Unknown |  | 125.28 |

| Zone 4 |
| --- |
| Size | Basins | Est. Length (LF) |
| 4” | 1 | 8.61 |
| 6” | 7 | 377.58 |
| 8” | 44 | 1202.32 |
| 10” | 121 | 6823.56 |
| 12” | 537 | 27104.90 |
| 15” | 100 | 11301.10 |
| 18” | 69 | 7830.83 |
| 19”x30” | 2 | 78.92 |
| 21” | 18 | 2128.03 |
| 24” | 53 | 6227.69 |
| 24”x38” | 2 | 171.36 |
| 27” | 1 | 505.05 |
| 30” | 43 | 5362.03 |
| 36” | 21 | 1802.93 |
| 42” | 0 | N/A |
| 46” | 0 | N/A |
| 48” | 5 | 361.87 |
| 60” | 0 | N/A |
| Unknown |  | 76.72 |

In addition, approximately 683 catch basins located in Zone 5, and approximately 973 catch basins in Zone 4 shall be included in this maintenance program.

Supplemental work based on unit prices may be located in any zone within the City limits.  Emergency work shall have no minimum mobilization required.

BACKYARD STORMSEWER

The Contractor shall be responsible to make notification to all residents and businesses with backyard storm sewers/structures.  Notifications shall be made no less than one (1) week and no more than three (3) weeks prior to starting the work.  The notification should contain the estimated week of the work as well as the contact information for a foreman on the site.

Should the work have potential to damage a landscaped area, or should a resident request that no work be performed adjacent to his/her property, the contractor shall skip those properties and notify the Public Works Manager of all sections skipped.  In the written report, skipped areas shall be noted with the reason that they were skipped.

EMERGENCY RESPONSE

Should an emergency situation require immediate storm sewer cleaning or maintenance services, the Contractor shall be required to mobilize on site within 2 and one-half hours of the callout.

MINIMUM REQUIREMENTS

All contractors MUST meet the following minimum requirements to be considered for work:

- Minimum of 5 years of experience providing Stormwater Catch Basin Cleaning Services.  If less than five years experience, previous experience with the City will be considered.

- Provide adequate communications.  All vehicles will need a 2-way radio with City frequency, a Cell Phone.

- Ability to provide competent drivers/ operators that are capable of efficiently operating the equipment assigned and are able to read City supplied maps.

- Provide equipment that meets or exceeds the Department of Public Works equipment specifications.  All equipment shall display the name of the contractor for identification.

- Meet or exceed all Liability Insurance Requirements as required by the City of St. Charles.

STANDARD SPECIFICATIONS

The Standard Specifications governing the performance of the Work shall be deemed to include all revisions, amendments, and supplements in effect as of commencement of the Work, or subsequently enacted anytime during the progress of the Work. The Standard Specifications include the latest editions of the following:

1.	 "Standard Specifications for Road and Bridge Construction", adopted January 1, 2012, published by the Illinois Department of Transportation (IDOT).

2. 	"Bureau of Local Roads and Streets, Special Provisions and Specifications", published by IDOT.

3. 	"Interim Special Provisions", adopted subsequent to issuance of Supplemental Specifications and Recurring Special Provisions.

4. 	"Manual on Uniform Traffic Control Devices for Streets and Highways", adopted by IDOT.

5.	“Standard Specifications for Water and Sewer Main Construction in Illinois”. Seventh edition, dated 2014.

SUPPLEMENTS TO STANDARD SPECIFICATIONS

The following requirements supplement the "Standard Specifications for Road and Bridge Construction," adopted January 1st, 2012, (hereinafter referred to as the Standard Specifications); the latest edition of the "Illinois Manual on Uniform Traffic Control Devices for Streets and Highways" in effect on the date of request for proposals; and the "Standard Specifications for Traffic Control Items," latest edition, (hereinafter referred to as the Traffic Specifications). In case of conflict with any part or parts of said Specifications, the Special Provisions shall be controlling.

Before submitting proposals, proposers should visit the site of the proposed work, verify all site conditions and also conditions under which said work must be conducted.

Submission of a Proposal implies that the proposer is fully conversant with all requirements of Minimum Requirements, Standard Specifications, Special Provisions, Standard Drawings, and site conditions. No claim for additional compensation will be considered or paid because of the CONTRACTOR’S negligence or failure to be so informed.

STORM SEWER AND CATCH BASIN CLEANING SPECIFICATIONS

The CONTRACTOR shall perform and provide:

- It shall be the responsibility of the Contractor to remove internal deposits from the catch basins or storm sewer structures, using accepted sewer cleaning techniques. The cleaning operation shall remove all debris, solids, rags, soil, sand, and pieces of broken pipe, bricks, grease, grit, and other debris that would collect within the Storm Sewer Structure. Manholes, catch basins and Inlets, shall all be classified as storm sewer structures

- All material shall be removed at the downstream manhole of the section being cleaned. Passing material from one manhole section to another shall not be permitted. In the event that roots, sludge, dirt, sand, rocks, grease, encrustation and other solid or semisolid material or debris resulting from the cleaning operations are observed and/or detected by the Public Works Department as passing to downstream sewer segments(s), Contractor shall be responsible for cleaning such downstream sewer segment(s) at no additional cost to the City. All costs are incidental and shall be included in the unit proposal price.

- Precautions shall be taken to ensure that the cleaning operation will not cause any damage or flooding to public and /or private property being served by the sewer line section involved. The Contractor shall bear full costs associated with any flooding or damage to basements or structures.

- The Contractor shall recognize that there are some conditions such as broken pipe and/or major blockages that can prevent cleaning from being accomplished or where damage could result if cleaning were attempted or continued. Perform a reverse set-up cleaning when a blockage in the sewer prevents completion of cleaning from the downstream manhole by moving equipment to the upstream manhole and attempting to complete the cleaning of the entire sewer.

- Attempt to remove a specific blockage in the sewer for at least 1 hour before advising the Public Works Department the blockage cannot be removed. The Public Works Department shall immediately be notified by the Contractor of any and all conditions, which in the opinion of Contractor warrant termination of cleaning activities. If Contractor’s cleaning equipment becomes lodged in a sewer, it shall be removed by Contractor at his / her expense. This shall include excavation and repair of the sewer, underground utilities, backfilling, and surface restoration.

- When heavy sewer line cleaning is shown as a proposal item on the proposal, measurement shall be made on an actual cleaned lineal footage basis per diameter of sewer cleaned and shall include the cost of all items necessary to complete the sewer cleaning and any bypass pumping/flow control which may be required. The cost for an additional set-up is incidental to the heavy cleaning proposal. Heavy cleaning shall be approved by the Public Works Department prior to its use or payment will be withheld.

- Acceptance of sewer cleaning work is contingent upon the successful completion of the Catch Basin Cleaning inspection. If Catch Basin inspection shows debris, solids, sand, grease, roots, deposits remaining in the Structure, the cleaning will be considered unsatisfactory, and the Contractor shall repeat cleaning and cleaning of the Storm sewer structure, at no increased cost to the City until cleaning is acceptable to the Public Works Department.

- CLEANING ITEMS:  The Contractor shall select the cleaning equipment for cleaning based on the age, the material and the probable condition of the sewer.  The Contractor shall not damage the sewer or any manhole during cleaning.

- Storm Sewer Structures:  Not all the structures on the map will need to be cleaned. It will be at the Contractors discretion if a structure has no debris to be removed from it.  This will then be listed as a checked item only and not subject to cleaning and payment of such. A list of these items and structures shall be supplied to the City of St Charles at the time the section is invoiced.

- INSPECTIONS:  The Contractor shall ensure that all structures submitted for payment will be free from debris upon completion of the cleaning work. A follow up inspection by the City will determine if the structures submitted will be acceptable for payment.

- SUBMITTALS:  The Contractor shall:

  - Submit a spread sheet of all structures that were cleaned for payment with the appropriate city Identified numbers attached to the corresponding structure.

  - A spread sheet listing the structures with city ID’s that were not cleaned.

STORMSEWER TELEVISING SPECIFICATIONS

The contractor shall televise all sections of storm sewer cleaned under this contract.  All televising footage shall be PACP coded, and a report of any defects provided to the City.  Any critical or catastrophic failures of City infrastructure identified during this televising shall be brought to the attention of the Public Services Division Manager immediately.

Electronic copies of the televising footage shall be provided to the City on a CD or USB drive.  All data shall be formatted to be PACP compliant.  The City currently uses IT Pipes for their televising software.  While not required, IT Pipes configured data would be seen as beneficial.

In addition to the video footage, the contractor shall provide a written report of each section cleaned, identifying defects in the pipe sections.  The report shall be clear and concise.

“EXHIBIT B”

##### BASE PROPOSAL/ FEE SCHEDULE

Proposers will be required to submit costs for Stormwater Televising & Cleaning Services based on the following Fee Schedule.  Proposers will be compensated based on Unit Prices identified for width and length of Storm Lines.  Proposers will be awarded this procurement not necessarily based on least cost, but rather to the contractor whose proposal best meets the requirements of this RFP.  It is understood that the contractor will be required to perform and complete the proposed work in a thorough and professional manner. The contractor shall provide all necessary labor, tools, implements, equipment, materials, and supplies to complete the contracted work.

The proposal shall include a detailed list of the equipment the contractor will have available including the following information:

- The Name and Type of Equipment

- Age of Equipment

- Condition of Equipment

Should there be a discrepancy between the gross sum proposal amount and the proposal amount calculated from the summation of quantities multiplied by their respective unit prices, the latter shall apply.

The quantities stated in these proposal documents for which unit prices are to be provided are approximate only and is intended for the purposes of obtaining a gross sum, computing the value of additions and deductions, and determining the lowest responsible Proposer. Compensation to the Contractor shall be based upon the actual quantities used for the performance of the Work multiplied by the unit price stated in Contractor’s Fee Schedule for each item. Contractors are forewarned that the quantities may be increased or decreased by 25% without prejudice to the contract. Payment will be based on lineal feet cleaned and televised at the accepted unit price.

##### CITY OF ST. CHARLES

##### Stormwater Televising & Cleaning Services

##### Fee Schedule

2015



Proposer hereby proposes and agrees to furnish to the City of St. Charles all equipment, materials, labor and related items necessary for the completion of the Work in accordance with this RFP for the amounts stated as follows:

##### City of St. Charles Stormwater Mains

(Zone 5:  Bordered by Prairie Street to the North, the Fox River to the East, Gray Street to the South, and 14th Street to the West)

62,070 total feet of Storm Sewer

BASE PROPOSAL

Quantity	Diameter	Est. Total Length Unit Price	  Extension

(Inches)	(Linear Feet)	       Base Proposal	  Base Proposal

19		6 In.		2,721 LF	     $__________	$__________

24		8 In.		769 LF	     $__________	$__________

153		10 In.		7,002 LF	     $__________	$__________

359		12 In.		31,829 LF	     $__________	$__________

68		15 In.		9,053 LF	     $__________	$__________

24		18 In.		2,953 LF	     $__________	$__________

0		19 x 30 In.	0 LF		     $__________	$__________

3		21 In.		438 LF	     $__________	$__________

14		24 In.	         	2,348 LF	     $__________    	$__________

2		24 x 38 In.	171 LF	     $__________     	$__________

8		27 In.		1,107 LF	     $__________	$__________

9		30 In.		1,618 LF	     $__________	$__________

0		36 In.		0 LF		     $__________	$__________

5		42 In.		993 LF	     $__________	$__________

7		60 In.		1,083 LF	     $__________	$__________

TOTALS:			62,070 LF				$__________

Total Base Proposal Price:_________________________________(in dollars)

Total Base Proposal Price:_________________________________(in writing)

Percent Increase for Optional Second Year Contract

(May 1, 2016 – April 30, 2017):							%

Actual award will be based on unit prices, the actual quantity to be determined by prices received and budgetary funds available.

“EXHIBIT C”

City of St. Charles

Stormwater T.V. History Atlas Maps

The Maps attached contain a comprehensive diagram of the Stormwater Sewer System in the City Zones that are being proposed in this RFP, as well as additional zones that may be completed as time and funding allow.

Due to the size of the maps, they are not attached.  The maps can be viewed/printed by following the link below:

http://www.stcharlesil.gov/bids-proposals